## Slide 1
MedTronic
An IoT-based real-time telemedicine system

## Slide 2
Meet the members
01. About us
Why it is important?
02. Motivation
How did we implement the system?
04. System Diagram
How did we build the prototype system?
05. Prototype Development
Today’s Agenda
Complexities of the proposed work
07. Challenges
06. Different Noise and ECG Filters
08. Conclusion
How did we achieve better signals?
Final arrangements of our work.
03. Related Work
References

## Slide 3
About us
Team MedTronic
Tanzela Nasrin Ahana
Muhammad Khaleduzzaman
Md. Tamzidul Islam
Md. Mubayeer
Rahman
ID: 18.02.04.012
ID: 18.01.04.102
ID: 18.01.04.123
ID: 18.01.04.144
Dr. Md. Raqibul Hasan Assistant Professor
Ms. Nawshin Tabassum Tanny Lecturer

## Slide 4
Motivation
Why it is important?
Provide health care to rural and remote communities.
Provide lower-cost healthcare solutions.
Availability, and efficient sharing of medical data.
A real-time healthcare system to improve the doctor-to-patient ratio virtually.
Provide specialist doctors consultation in the villages of Bangladesh.

## Slide 5
Related work
References
Uses body parameters to collect data and display it in an LCD graphical user interface.
IoT services not available.
Uses wearable and ambient sensors to track motion and vital signs.
Works in real-time but used heavy machinery and is costly.
Keeps records of patients on cloud-based networks.
Only works with ECG signal.
Shyamal Patel “A review of wearable sensors and systems with application in rehabilitation” Journal of Neuro Engineering and Rehabilitation Northeastern University.
M.Shamim Hossaina Ghulam Muhammad “Cloud-assisted Industrial Internet of Things (IIoT) – Enabled framework for health monitoring”.
U. Satija, B. Ramkumar, and M. S. Manikandan, “Real-time signal quality-aware ecg telemetry system for iot-based health care monitor- ing,” IEEE Internet of Things Journal, vol. PP, no. 99, pp. 1–1, 2017.

## Slide 6
Overall System Diagram
Overall system diagram of the proposed telemedicine model

## Slide 7
Methodology
Methods used in our project
Low pass filter for noise removal
01
Firebase database to store patient data
02
03
04
Arduino controlled sensors and digital stethoscope for collecting body parameters
Mobile app to transfer patient data
05
Filtered ECG signal

## Slide 8
Prototype Development
Hardware Diagram
ECG sensor
Pulse Rate Sensor
LED Display
O2 Saturation Sensor

## Slide 9
Hardware Components
Arduino based system
S.No. | Components | Use
01 | Arduino-Nano | Brain of the system
02 | MAX30102 | Detect Pulse Rate, SpO2
03 | AD8232 | Detect ECG signal
04 | Li-Po Battery | Power the system

## Slide 10
Hardware Demo
Hardware Setup

## Slide 11
Input Device
Primary device
Digital Stethoscope

## Slide 12
Signal Transfer
Transportation of stethoscope data
Using a WiFi module in our hardware system
Direct Interfacing to mobile’s 3.5mm port
Utilizing the app to send the audio signal in real-time
#2
#1
#3

## Slide 13
ECG Sensor & Arduino Interfacing
Records ECG signal

## Slide 14
Applied Filters
Different Noise and ECG Filters to achieve better signals
Start
Used low pass filter in our app to reduce extra noise from the stethoscope
2. Output signal after low pass filter
High-frequency components of the input signal
1. Input Signal

## Slide 15
Contains noise and artifacts that can interfere with the signal.
4. The original ECG
It represents the depolarization of the ventricles of the heart during a cardiac cycle.
3. Comparative ECG R-Peak Detection Plot
Used different R-peak detection algorithms and choose the one that provides the most accurate and reliable results.
5. Comparative ECG R-Peak Detection Plot post filtering
Fast Fourier Transform (FFT) identifies signal frequency components and evaluates filtering efficacy in removing high-frequency noise.
6. FFT filtered ECG signal

## Slide 16
Prototype Development
Software Blueprint
5th Work experience

## Slide 17
Database Management
Database access of our app

## Slide 18
Database Management
Values that we currently store in our database

## Slide 19
App Demo
Software Design

## Slide 20
Applying low pass filter in our android app
Audio transmission system

## Slide 21
SPo2 Sensor Output in the app
Output directly from the SPo2 sensors through the database

## Slide 22
Real-time transfer of heartbeat signal with noise cancellation.
Keeping the cost low for affordability. Reducing delay.
Implementing filtered ECG Signals
Challenges
The complexities of our proposed project
Making the system user-friendly and easy to operate.

## Slide 23
Future Work
Forthcoming activities
Map API system to find nearby medical assistance
Implement automated first aid system using AI
Medicine Tracker
Diabetes Tracker

## Slide 24
Conclusion
Home Based Health Monitoring System Using Android Smartphone,International Journal of Electical,Electronics and Data Communication, Vol-2, Issue-2, Feb-2014, Sushama Pawar, P.W.Kulkarni
Efficient and low-cost medical care
Optimized noise cancelling algorithm
Easy to use app
Minimized delay in communication
Store patients’ health data
Machine Leaning for emergency alerts

## Slide 25
Q
A
&
Question
Answer
Any Questions?

## Slide 26
Thank You.